## Sheet1
修改后的series description（总共198项） | 重命名（T2, T1, T1_E, T2Flair） | 请确保列A和列B内没有空格！！！
t1_tirm_sag_dark-fluid | T1_Sag_or_T1_E_Sag | (有的是T1WI，有的是T1增强，看脑脊液里面是否有高亮)
t1_tirm_tra_dark-fluid | T1_Ax_or_T1_E_Ax | (有的是T1WI，有的是T1增强，看脑脊液里面是否有高亮)
t1_tirm_cor_dark-fluid | T1_Cor_or_T1_E_Cor | (有的是T1WI，有的是T1增强，看脑脊液里面是否有高亮)
t2_tirm_tra_dark-fluid | T2Flair_Ax | （是T2 FLAIR）
t2_tse_tra_320_p2 | T2_Ax | (常规T2序列，可以看到CSF里面全白)
OAx T1+C | T1_E_Ax
OAx T1 FLAIR | T1_Ax
OSag T1 FLAIR | T1_Sag
OAx T2 FLAIR | T2Flair_Ax
COR T1 +C | T1_E_Cor
OSag T1 +C | T1_E_Sag
OCor T1+C | T1_E_Cor
OSag T1 FLAIR+C | T1_E_Sag
OSag T1+C | T1_E_Sag
OCOR T1 FLAIR+C | T1_E_Cor
OCor T1 FLAIR+C | T1_E_Cor
OSag T1 FLAIR +C | T1_E_Sag
OAx Prop T2 | T2_Ax
OAx T1 FLAIR fs+C | T1_E_Ax
3DFLAIR_TRA_CS7 | T2Flair_Ax
OAx T2 PROPELLER | T2_Ax_or_T2_Sag | (有的是Sagital！要注意)
ep2d_diff_3scan_trace_p2 | ep2d_diff_3scan_trace_p2
ep2d_diff_3scan_trace_p2_ADC | ep2d_diff_3scan_trace_p2_ADC
localizer | localizer
Apparent Diffusion Coefficient (mm2s) | ADC_Ax
Exponential Apparent Diffusion Coefficient | eADC_Ax
OAx DWI Asset | DWI_Ax
BiomindOverview | BiomindOverview
Screen Save | Screen Save
SURVEY | SURVEY
dADC | dADC_Ax
sb0 | sb0
sb1000 | sb1000
3DFLAIR-VISTA-SAG_CS7 | T2Flair_3D
3DT1W-MPRAGE_SAG_CS4 | T1_3D
DWI HR | DWI_Ax
T1W_IR+C | T1_E_Ax_or_T1_E_Cor_or_T1_E_Sag
VWIP 3DT1W-MPRAGE_SAG_CS4 | T1_3D
T2W_NEW_TRA | T2_Ax_B | (文件夹中有2个sequence，一个有波纹，一个没有，删除有波纹的)
VWIP 3DT1W-MPRAGE_TRA_CS4 | T1_Ax
3-Pl T2 FGRE | 3-Pl T2 FGRE
3-pl Loc GRE | 3-PI Loc GRE
ADC (10^-6 mms) | ADC_Ax
eADC | eADC_Ax
OAx DWI b=1000 | DWI_Ax
ORIG OAx DWI b=1000 | DWI_Ax
resolve_3scan_trace_tra_160_p2_ADC | ADC_Ax
resolve_3scan_trace_tra_160_p2_TRACEW | resolve_3scan_trace_tra_160_p2_TRACEW
t1_mprage_sag_p2_iso | T1_3D
T2W_MV_TRA | T2_Ax
SWI_FilPha | SWI_FilPha
SWI_mIP | SWI_mIP
t1_tirm_cor_dark-fluid FAT | T1_E_Cor
DWI | DWI_Ax
ee3DFLAIR_TRA_CS7 | T2Flair_Ax
t2_tse_tra | T2_Ax
SWI_CS10 | SWI_CS10
SWI_Images | SWI_Images
t1_mprage_sag_p2_iso_MPR_sag | T1_Sag
t1_mprage_sag_p2_iso_MPR_tra | T1_Ax
3DFLAIR_TRA_CS6 | T2Flair_Ax
e3DFLAIR_TRA_CS6 | T2Flair_Ax
Mag_Images | Mag_Images
mIP_Images(SW) | mIP_Images(SW)
Pha_Images | Pha_Images
t1_fs_tse_dark-fluid_tra | T1_E_Ax
t1_tse_dark-fluid_cor | T1_E_Cor
t1_tse_dark-fluid_sag | T1_E_Sag
e3DT1W-SAG | T1_Sag
e3DT1W-TRA | T1_Ax
T1W_IR +C_FS | T1_E_Cor
V3DT1W-SAG | T1_Sag
V3DT1W-TRA | T1_Ax
3DFLAIR-VISTA-SAG | T2Flair_3D
3DT1W-MPRAGE_SAG | T1_3D
AAHead_Scout | T1_3D
AAHead_Scout_MPR_cor | T1_Cor
AAHead_Scout_MPR_sag | T1_Sag
AAHead_Scout_MPR_tra | T1_Ax
ASSET Calibration | ASSET Calibration
eFLAIR-TRA | T2Flair_Ax
FLAIR-TRA | T2Flair_Ax
MIP Range[1] | MIP Range
MIP Range | MIP Range
3DT1_C+ | T1_3D
3DT1_C+_CS45 | T1_E_3D
3DT1_C+COR_CS45 | T1_E_Cor
3DT1_C+SAG_CS45 | T1_E_Sag
3DT1_C+TRA_CS45 | T1_E_Ax
3DT1W_TFE_sSAG | T1_3D
3DT1W-MPR_SAG | T1_Sag
3DT1W-MPR_TRA | T1_Ax
3DT1W-MPRAGE_SAG_CS45 | T1_3D
C+COR | T1_E_Cor
C+SAG | T1_E_Sag
e3DT1_C+COR_CS45 | T1_E_Cor
e3DT1_C+SAG_CS45 | T1_E_Sag
e3DT1_C+TRA_CS45 | T1_E_Ax
eC+COR | T1_E_Cor
eC+SAG | T1_E_Sag
eV3DT1W-TRA | T1_E_Ax
eVWIP 3DT1W-MPRAGE_SAG_CS45 | T1_Sag
eVWIP 3DT1W-MPRAGE_TRA_CS45 | T1_Ax
FILT_PHA OAx SWI By Zhang Yingkui | FILT_PHA OAx SWI By Zhang Yingkui
FLCOAx T2 PROPELLER | T2Flair_Ax
mb2DKI_B0_sTRA | mb2DKI_B0_sTRA
mb2DKI_iso48_b1k2k_sTRA | mb2DKI_iso48_b1k2k_sTRA
MPR Ob_Ax_I - S_Min IP_sp50_th50 | MPR Ob_Ax_I - S_Min IP_sp50_th50
MRA_fl3d_tra_p2_multi-slab | MRA_fl3d_tra_p2_multi-slab
MRA_fl3d_tra_p2_multi-slab_MIP_COR | MRA_fl3d_tra_p2_multi-slab_MIP_COR
MRA_fl3d_tra_p2_multi-slab_MIP_SAG | MRA_fl3d_tra_p2_multi-slab_MIP_SAG
MRA_fl3d_tra_p2_multi-slab_MIP_TRA | MRA_fl3d_tra_p2_multi-slab_MIP_TRA
MultiPlanar Reconstruction (MPR) Ob_Ax_S - I_Min IP_sp50_th5 | MultiPlanar Reconstruction (MPR)
OAx SWI By Zhang Yingkui | OAx SWI By Zhang Yingkui
Reg - mb2DKI_iso48_b1k2k_sTRA | Reg - mb2DKI_iso48_b1k2k_sTRA
VWIP 3DT1W-MPRAGE_SAG_CS45 | T1_Sag
VWIP 3DT1W-MPRAGE_TRA_CS45 | T1_Ax
Ax SWAN | Ax SWAN
FILT_PHA Ax SWAN | FILT_PHA Ax SWAN
MultiPlanar Reconstruction (MPR) Ob_Ax_I - S_Min IP_sp36_th2 | MultiPlanar Reconstruction (MPR)
OCOR T1 +C | T1_E_Cor
OSAG T1 +C | T1_E_Sag
OSAG T1 FLAIR | T1_Sag
sms2_diff_DKI_2b_iso_25mm | sms2_diff_DKI_2b_iso_2.5mm
sms2_diff_DKI_2b_iso_25mm_ADC | sms2_diff_DKI_2b_iso_25mm_ADC
sms2_diff_DKI_2b_iso_25mm_ColFA | sms2_diff_DKI_2b_iso_25mm_ColFA
sms2_diff_DKI_2b_iso_25mm_FA | sms2_diff_DKI_2b_iso_25mm_FA
sms2_diff_DKI_2b_iso_25mm_TRACEW | sms2_diff_DKI_2b_iso_25mm_TRACEW
SWI | SWI
t1_tirm_sag_dark-fluid_p2 | T1_Sag
t1_tirm_tra_dark-fluid_p2 | T1_Ax
t2_space_dark-fluid_sag_p3_iso | T2Flair_3D
t2_space_dark-fluid_sag_p3_iso_MPR_sag | T2Flair_Sag
t2_space_dark-fluid_sag_p3_iso_MPR_tra | T2Flair_Ax
T2_tse_TRA_5mm | T2_Ax
MPR Range | MPR Range
MPR Thick Range[1] | MPR Thick Range[1]
MPR Thick Range[2] | MPR Thick Range[2]
MPR Thick Range[3] | MPR Thick Range[3]
MPR Thick Range | MPR Thick Range
3DFLAIR_TRA | T2Flair_Ax
3DFLAIR_TSE_sSAG | T2Flair_3D
3DFLAIR-COR | T2Flair_Cor
3DFLAIR-VISTA-SAG HR | T2Flair_3D
3DpCASL_30S | 3DpCASL_30S
3D-T1w-MPRAGE-CS | T1_3D
3-P,Localizer | 3-P,Localizer
APT-slices | APT-slices
ASL_3D_tra_iso_3mm | ASL_3D_tra_iso_3mm
Ax 3D FSPGR+C | T1_E_3D
Ax Flair irFSE | T2Flair_Ax
Ax T1,Flair | T1_Ax
Ax T2 FSE | T2Flair_Ax
DelRec - SWI_QSM_sTRA | DelRec - SWI_QSM_sTRA
DW_SSh | DW_SSh
DW_SSh_PA | DW_SSh_PA
ep2d_sms_BOLD_3mmiso_TR750_AP | ep2d_sms_BOLD_3mmiso_TR750_AP
fMRI_EPI_sTRA | fMRI_EPI_sTRA
New_APT_7slices_V18O15_CS4 | New_APT_7slices_V18O15_CS4
OAx T1 FLAIR+C | T1_E_Ax
OAx T2 GRE | T2_Ax
OCOR T1 FLAIR fs+C | T1_E_Cor
Perfusion_Weighted | Perfusion_Weighted
Sag T1,Flair | T1_Sag
SAGT2 PROPELLER | T2_Sag
Survey | Survey
SWI_QSM_sTRA | SWI_QSM_sTRA
T_CS4 | T1_Ax
T_CS7 | T2_Flair_Ax
t2_blade_tra_p2 | T2_Ax
t2_cor-3mm | T2_Cor
T2_FLAIR_SPIR | T2Flair_Ax
t2_sag | T2_Sag
t2_space_tra_10iso | T2_3D
t2flair_spc_sag_1mm_p2 | T2Flair_3D
t2flair_spc_sag_1mm_p2_MPR_tra | T2Flair_Ax
T2W_TSE | T2_Ax
VSWI_QSM_sTRA | VSWI_QSM_sTRA
VWIP 3DT1W-TRA | T1_E_Ax